## Economic KPIs
Economic and Financial metric for KPIs |  | Notes | Objectif | OV comments
Internal Rate of Return (IRR) | % | Higher than cost of capital for the project. | > 10% | ok
Required Rate of Return (RRR) | % | Bottom acceptable level of profitability | <IRR | ok
Net Present Value (NPV) |  | Higher the better. Optimally, both economic and financial have to be considered | > 0 | €
Return on Equity (ROE) | % | The general objective is to boost the overall efficiency in returns for the Stakeholders | > 10% | ok
Return on Capital Employed (ROCE) | % | Achieve steadily increasing ROCE which exceeds cost of capital | > 15% | ok
Incremental Discounted Payback Period | years | The optimal range is 12-14 ys, but the TRLs largely affected the level* | <15 ys | ok
Green Bond Rating |  | Indicating the greenness of the of local governments policies | >GA3 | In general terms, there isn't a unit of measurement for this because the rating is measured in letters based on parameters (eg: "AAA", "BB"). what can be estimated is the value of green bonds in €. For now, let's not consider this parameter in the analyses.
Operating Cash Flow (OCF) |  | The early the better |  | €
Operating Profit Margin (OPM) |  | Measuring the overall operating efficiency, including all the ordinary expenses. |  | €
Benefit Cost Ratio (BC Ratio) | % | Higher the better | 10% | ok
National Inflation Rate | % | Differences with € Area, as a measure of the local economy’s monetary stance | Δ | ok
Change in Value of Buildings Property |  | Effects on Real estate market in the municipality. |  | Don't used for the profitability analysis in REZBUILD.
Real Estate Assessment to Sales Ratio | % | Comparing the assessed values of Real Estate to the selling prices of normal. | > 100% | ok
Real Estate Coefficient of Dispersion | % | Providing metric of variation for individual assessment ratios around the median level of assessment. | <15% | ok
Number of new jobs/business created at City scale |  | Indicates the smart city interventions impact in the municipality.
Life Cycle Analysis (LCA) |  |  |  | It is an economical one? I putt it in the Environmental, which units?? Not really, because it's an objective evaluation process that consists in the study of the technical and environmental impact of an intervention. The costs and the economic values are only a part of the overall vision.
Life Cycle Cost (LCC) |  | Fine-tuning the optimal cost-effective of the equipment |  | €
Pay Back Time (PBT) | years | Mandatory below 15, preferable within the range 12-15 | 12-15ys
Return on Investments (ROI) | % | Normally, it is considered profitable a value around 20% | min 15%
Social Return on Investments (SROI) |  | Same consideration as for ROI
Debt-Service Coverage Ratio (DSCR) |  | Bankability means (DSCR>1), (DSCR=1) means OCF covers the debt, while (DSCR<1) stands for an OCF not covering debts at all. | >1 | number.
Value of the building |  | Valorisation of the building after retrofit actions |  | € or delta% depends on the point of the analysis
Annual costs - Energy bills after retrofit actions |  | To show difference between pre and post intervention energy bills |  | €

## Energy KPIs
Metric | Unit
Energy source typology | Electric/Thermal/etc.
Primary electric energy demand | toe
Primary thermal energy demand | toe
Total electric and thermal energy consumption per gross volume unit | (toe/m3* y)*1000
Total electric and thermal energy consumption per gross surface unit | (toe/m2* y)*1000
Total energy consumption per conditioned surface unit | (toe/m2 Nrg *y)*1000
Electric energy consumption per conditioned surface unit | kWhe/m2 Nrg *y
Electric energy consumption per gross surface unit | kWhe/m2 *y
Thermal energy consumption per conditioned surface unit | kWht/m2 Nrg *y
Thermal energy consumption per gross surface unit | kWht/m2 *y
Electric energy consumption for conditioning normalized per conditioned surface unit | kWhe/m2 Nrg *y
Thermal energy consumption for conditioning normalized per conditioned surface unit | kWht/m2 Nrg * DD*y
Energy consumption for lighting per gross surface units | kWhe/m2 Nrg * DD*y
Peak load and profile of electric energy demand | kWe
Peak load and profile of thermal energy demand | kWt
Total energy cost per gross surface unit | €/ m2 *y
Electrical energy bill per gross internal surface unit | €/ m2 *y
Thermal energy bill per gross internal surface unit | €/ m2 *y
Energy bill for conditioning per conditioned surface unit | €/ m2Nrg *y
Energy bill for lighting per gross internal surface unit | €/ m2 *y
Total annual revenues, sum of discounted annual revenues and annuity | €/year
Energy production costs | €/kWh
Building heat transfer coefficient (U value) | kW/m2/K
Additional KPIs_Energy Consumption |  | Notes
Reduction in annual final energy consumption | % in kWh | Change in annual final energy consumption due to the project for all uses and forms of energy indicated both separately and altogether.
Total residential electrical energy use per capita (core indicator) | kWh/y/cap
Use of renewable energy | Yes/no | By hiring an energy expert the best renewable energy solution should be found.
Percentage of Renewable energy use | % | Percentage of RES used with respect to the overall use of energy.
Annual final energy consumption | kWh/y | Annual final energy consumption for all uses and forms of energy indicated both separately and altogether.
Carbon dioxide emission in tonnes reduction | % | Reduction in direct (operational) CO2 emissions achieved by the project.
Reduction in lifecycle CO2 emissions in tonnes | % | Reduction in lifecycle CO2 emissions achieved by the project.
CO2 emissions associated with the heating for buildings | tCO2/y | CO2 emissions associated with the heating of buildings.
CO2 produced from electricity usage per m2 of floor area | tCO2/m2
Energy performance gap (EPG) | EPG=(E2-E1)/E1 | E1 is the engineering estimate of energy consumption for the newly built or retrofitted dwelling and E2 the actual, measured energy consumption
Energy savings | Kwh | Energy savings obtained with the demo retrofitting interventions
Reduction of CO2 | tCO2 | Estimations on CO2 emissions avoided with the intervention
GWP - GhGs | kg CO2 eq
Energy class of the building | A-G | Evaluation aimed at promoting the improvement of the energy performance of buildings in terms of energy efficiency
Sustainable resource use | % or scale, typology etc. | Presence and/or use of sustainable materials or resources to carry out the retrofitting interventions.

## Environmental KPIs
Metric | Unit
LCA Indicator | KgCO2eq.

## Social KPIs
Social KPIs and assessment measures |  | KPI | Unit of measurement
Social | Adaptability | Flexibility | Degree in % or scale
|  | Occupant satisfaction | % or scale
Elasticity
Climate change
| Safety & accessibility | Structural safety
Fire safety
Accessibility (HC/UU)
|  | Feeling of safety | % or scale
| Usability | Functions (core activity)
Support functions
Capacity
Logistics
| Cultural values | Protection level
|  | Cultural heritage | yes/no
|  | Increased environmental/sustainability | scale or %
education
|  | Community acceptance | % or scale
| Economic Social | PRIMARY INDICATORS
| (Energy Poverty) | Arrears on utility bills | €
Hidden energy poverty(HEP)
|  | High share of energy expenditure in income (2M) | €
|  | Inability to keep home adequately warm | % or scale
SECONDARY INDICATORS
|  | Fuel oil prices | €
|  | Biomass prices | €
|  | Coal prices | €
|  | Household electricity prices | €
|  | District heating prices | €
|  | Household gas prices | €
|  | Dwelling comfortably cool during summer time | number
|  | Number of rooms per person, owners | number
|  | Dwelling comfortably warm during winter time | number
|  | Number of rooms per person, renters | number
|  | Dwellings in densely populated areas | number
|  | Number of rooms per person, total | number
|  | Dwellings in intermediately populated areas | number
|  | Poverty risk | %
|  | Dwellings with energy label A | number
|  | Energy expenses, income quintile 1 | €
|  | Energy expenses, income quintile 2 | €
|  | Energy expenses, income quintile 3 | €
|  | Energy expenses, income quintile 4 | €
|  | Energy expenses, income quintile 5 | €
|  | Equipped with air conditioning | yes/no
|  | Equipped with heating | yes/no

## Comfort KPIs
Comfort assessment measures |  | KPI | Unit of measurement
Comfort measures | Indoor quality | Room temperature | °C degrees
|  | Thermal comfort / Humidity | %
|  | CO2 concentration | mg/m3, ppm
|  | Formaldehyde (HCHO) concentration | mg/m3, ppm
|  | % time inside the hygrothermal zone | %
|  | Total VOCs (PM2.5, PM10, PM20) | ug/m3, ppm